## Sheet1
Loop No | Tag No | Description | P&ID No | Unit No | JB No. | JB Terminal No. | Multi Cable No. | Pair/Corner No. | Service | Location | ITR | I/O Type | Signal Type | Signal Connection | Contact Type | IS/NIS | Signal Power | Failure Action | Controller Action | Remarks | I/O Rev | JB categories | JB first NO. | JB second NO. | Tag second NO. | PDF_Name | Page | JB | MC | Tag_Number | BK_Colors | WT_Colors | Terminal_First | Terminal_Second | Terminal_Label | Cable_Description | Type | Tag_Number_Status
F-100-14 | FIT-100-14 | FLOW INDICATION TRANSMITTER | 0100-PR-PD-2001-1/2 | 100 | JB-DIA-100-001 | 1 | MC-DIA-100-001 | 1 | SOUR WATER TO SOUR WATER FILTERS F-3110-02A/S | FIELD | 1 | AI | 4-20 mA HART | DCS | - | IS | SYSTEM | - | - |  | D5 | DIA | 100 | 1 | 14 | JBTest.pdf | 1 | JB-DIA-100-001 | MC-DIA-100-001 | 1 | BK01 | WT01 | 1 | 2 | SCR | 12 pair | Tag | OK
L-100-04 | LDIT-100-04 | LEVEL INDICATION TRANSMITTER | 0100-PR-PD-2001-1/2 | 100 | JB-DIA-100-001 | 6 | MC-DIA-100-001 | 6 | ON SLUG CATCHER LIQUID BOTTLE | FIELD | 1 | AIR | 4-20 mA HART | DCS | - | IS | SYSTEM | - | - |  | D5 | DIA | 100 | 1 | 4 | JBTest.pdf | 1 | JB-DIA-100-001 | MC-DIA-100-001 | 6 | BK06 | WT06 | 11 | 12 | SCR | 12 pair | Tag | OK
L-100-02 | LIT-100-02 | LEVEL INDICATION TRANSMITTER | 0100-PR-PD-2001-1/2 | 100 | JB-DIA-100-001 | 7 | MC-DIA-100-001 | 7 | ON SLUG CATCHER | FIELD | 1 | AIR | 4-20 mA HART | DCS | - | IS | SYSTEM | - | - |  | D5 | DIA | 100 | 1 | 2 | JBTest.pdf | 1 | JB-DIA-100-001 | MC-DIA-100-001 | 7 | BK07 | WT07 | 13 | 14 | SCR | 12 pair | Tag | OK
P-100-11 | PDIT-100-11 | DIFF. PRESSURE INDICATION TRANSMITTER | 0100-PR-PD-2001-2/2 | 100 | JB-DIA-100-001 | 2 | MC-DIA-100-001 | 2 | SOUR CONDENSATE FILTER | FIELD | 1 | AI | 4-20 mA HART | DCS | - | IS | SYSTEM | - | - |  | D5 | DIA | 100 | 1 | 11 | JBTest.pdf | 1 | JB-DIA-100-001 | MC-DIA-100-001 | 2 | BK02 | WT02 | 3 | 4 | SCR | 12 pair | Tag | OK
P-100-12 | PDIT-100-12 | DIFF. PRESSURE INDICATION TRANSMITTER | 0100-PR-PD-2001-2/2 | 100 | JB-DIA-100-001 | 3 | MC-DIA-100-001 | 3 | SOUR CONDENSATE FILTER | FIELD | 1 | AI | 4-20 mA HART | DCS | - | IS | SYSTEM | - | - |  | D5 | DIA | 100 | 1 | 12 | JBTest.pdf | 1 | JB-DIA-100-001 | MC-DIA-100-001 | 3 | BK03 | WT03 | 5 | 6 | SCR | 12 pair | Tag | OK
P-100-13 | PDIT-100-13 | DIFF. PRESSURE INDICATION TRANSMITTER | 0100-PR-PD-2001-2/2 | 100 | JB-DIA-100-001 | 4 | MC-DIA-100-001 | 4 | SOUR WATER FILTERS | FIELD | 1 | AI | 4-20 mA HART | DCS | - | IS | SYSTEM | - | - |  | D5 | DIA | 100 | 1 | 13 | JBTest.pdf | 1 | JB-DIA-100-001 | MC-DIA-100-001 | 4 | BK04 | WT04 | 7 | 8 | SCR | 12 pair | Tag | OK
P-100-14 | PDIT-100-14 | DIFF. PRESSURE INDICATION TRANSMITTER | 0100-PR-PD-2001-2/2 | 100 | JB-DIA-100-001 | 5 | MC-DIA-100-001 | 5 | SOUR WATER FILTERS | FIELD | 1 | AI | 4-20 mA HART | DCS | - | IS | SYSTEM | - | - |  | D5 | DIA | 100 | 1 | 14 | JBTest.pdf | 1 | JB-DIA-100-001 | MC-DIA-100-001 | 5 | BK05 | WT05 | 9 | 10 | SCR | 12 pair | Tag | OK
T-100-03 | TIT-100-03 | TEMPERATURE INDICATION TRANSMITTER | 0100-PR-PD-2001-1/2 | 100 | JB-DIA-100-001 | 8 | MC-DIA-100-001 | 8 | SOUR CONDENSATE FROM SLUG CATCHER LIQUID BOTTLE TO SOUR CONDENSATE FILTERS | FIELD | 1 | AI | 4-20 mA HART | DCS | - | IS | SYSTEM | - | - |  | D5 | DIA | 100 | 1 | 3 | JBTest.pdf | 1 | JB-DIA-100-001 | MC-DIA-100-001 | 8 | BK08 | WT08 | 15 | 16 | SCR | 12 pair | Tag | OK
F-100-15 | FIT-100-15 | FLOW INDICATION TRANSMITTER | 0100-PR-PD-2001-1/2 | 100 | JB-DIA-100-001 | 1 | MC-DIA-100-001 | 1 | SOUR WATER TO SOUR WATER FILTERS F-3110-02A/S | FIELD | 1 | AI | 4-20 mA HART | DCS | - | IS | SYSTEM | - | - |  | D5 | DIA | 100 | 1 | 14
P-100-09 | TIT-100-09 | LEVEL INDICATION TRANSMITTER | 0100-PR-PD-2001-1/2 | 100 | JB-DIA-100-001 | 6 | MC-DIA-100-001 | 6 | ON SLUG CATCHER LIQUID BOTTLE | FIELD | 1 | AIR | 4-20 mA HART | DCS | - | IS | SYSTEM | - | - |  | D5 | DIA | 100 | 1 | 4
| SPARE | [24 empty] | JBTest.pdf | 1 | JB-DIA-100-001 | MC-DIA-100-001 | 9 | BK09 | WT09 | 17 | 18 | SCR | 12 pair | SPARE | OK
| SPARE | [24 empty] | JBTest.pdf | 1 | JB-DIA-100-001 | MC-DIA-100-001 | 10 | BK10 | WT10 | 19 | 20 | SCR | 12 pair | SPARE | OK
| SPARE | [24 empty] | JBTest.pdf | 1 | JB-DIA-100-001 | MC-DIA-100-001 | 11 | BK11 | WT11 | 21 | 22 | SCR | 12 pair | SPARE | OK
| SPARE | [24 empty] | JBTest.pdf | 1 | JB-DIA-100-001 | MC-DIA-100-001 | 12 | BK12 | WT12 | 23 | 24 | SCR | 12 pair | SPARE | OK